FEASIBILITY STUDY
OF POSSIBILITIES FOR USING SOLAR ENERGY TO PRODUCE THERMAL ENERGY AND ELECTRICITY IN THE AREAS OF THE CITY OF BIJELJINA AND THE MUNICIPALITY OF BOGATIĆ

Consultant: Enova d.o.o. Sarajevo, 2014.

NAME OF STUDY:	FEASIBILITY STUDY OF POSSIBILITIES FOR USING SOLAR ENERGY TO PRODUCE THERMAL ENERGY AND ELECTRICITY IN THE AREAS OF THE CITY OF BIJELJINA AND THE MUNICIPALITY OF BOGATIĆ

CLIENT: 		THE CITY OF BIJELJINA

Trg kralja Petra I Karađorđevića

76300 Bijeljina

Bosnia and Herzegovina

AGREEMENT:	The City of Bijeljina – ENOVA d.o.o. Sarajevo

Agreement number 02-404-111/13, 3rd October 2013

CONSULTANT:

Podgaj 14

71000 Sarajevo

Bosnia and Herzegovina

Tel:			+387 33 279 100

Fax: 			+387 33 279 108

Email: 			info@enova.ba

Web: 			www.enova.ba

AUTHORS:		Marin Petrović, PhD, Mechanical Engineering

Admer Bolić,  MSc Architectural Engineering

Zlatka Sjenar, MSc Mechanical Engineering

Mirsad Madeško, MSc Electrical Engineering

Mahir Kalčo, MSc Economics

Arnesa Alomerović, MSc Mechanical Engineering

Ana Njego, MSc Electrical Engineering

Anela Rodić, MA Politicologist

Armin Ademović, MSc Civil Engineering

TRANSLATION:		Nikola Stančić, MA Philology

"This publication has been produced with the assistance of the European Union. The contents of this publication are the sole responsability of the author and can in no way be taken to reflect the views of the European Union".

#### Contents

1	INTRODUCTION	13

1.1	Renewable energy resources	13

1.2	Solar Energy	14

1.3	Basic principles of solar energy use	16

1.3.1	Technology overview	16

1.3.2	The position and orientation of the solar panels	17

1.4	European Union Directives	19

1.4.1	Directive 2009/28/EC on the promotion of the use of energy from renewable sources	20

1.4.2	Directive 2010/31/EU on the energy performance of buildings	20

1.4.3	Directive 2005/89/EC concerning measures to safeguard security of electricity supply and infrastructure investment	21

1.4.4	Directive 2010/75/EU on industrial emissions	22

1.4.5	Policy and future activities of the EU	22

1.4.6	Energy Roadmap 2050	22

1.4.7	The Green Paper	22

1.4.8	Electricity from renewable energy sources	23

1.5	The objectives and strategies of the feasibility study	23

2	SOLAR ENERGY POTENTIAL IN THE REGION	24

2.1	Climate characteristics and potential of solar energy in the region	24

2.1.1	Climate characteristics of Bosnia and Herzegovina	24

2.1.2	Climate characteristics of Serbia	24

2.1.3	The potential of the use of solar energy in Bosnia and Herzegovina and Serbia	25

2.2	The potential of solar energy in the territory of of the city of Bijeljina and the municipality of Bogatić	28

2.3	The potential of solar energy in the world	30

3	SYSTEMS (TECHNOLOGIES) FOR USING SOLAR ENERGY	32

3.1	Concentrated and photovoltaic technology (active use of solar energy)	32

3.1.1	Concentrated solar power technologies (CSP)	32

3.1.2	Comparison of CSP technologies	37

3.1.3	Solar photovoltaic technologies (PV)	41

3.1.4	Comparison of solar PV technologies	46

3.1.5	Active solar heating and cooling	48

3.2	Solar thermal technologies (passive use of solar energy)	50

3.3	Hybrid technologies	55

3.4	Innovations on the market	58

3.4.1	Miniaturization of solar cells	58

3.4.2	Solar tower	58

3.4.3	Solar islands	59

3.4.4	Solar houses and "Plus-Energy" design	59

3.4.5	Solar energy in space	60

3.5	Analysis of the possibility to use photovoltaic (PV) and solar thermal (TS) systems in public buildings	61

3.5.1	The basic components of a solar system in public buildings	61

3.5.2	Possible options of using solar systems in public buildings	73

3.5.3	Identification of the most effective and most used solar systems	78

3.6	Solar energy market analysis	80

3.6.1	Current situation	80

3.6.2	Financing renewable energy sources	81

3.6.3	Incentive pricing	86

3.6.4	Solar panels on the market of Bosnia and Herzegovina and Serbia	88

3.6.5	SWOT Analysis	89

3.7	Analysis of the production of parts and components	89

4	LEGAL STATUS OF ENERGY SECTOR IN THE REGION	93

4.1	Institutional framework of Bosnia and Herzegovina and the Republic of Srpska	93

4.2	Legislative framework of Bosnia and Herzegovina and the Republic of Srpska	95

4.3	Institutional framework of Republic of Serbia	104

4.4	Legal Framework in the Republic of Serbia	106

5	ANALYSIS OF POSSIBILITIES AND JUSTIFICATION OF THE APPLICATION OF PV AND TS SYSTEMS ON PUBLIC BUILDINGS	116

5.1	Selection of buildings	116

5.1.1	Buildings in the territory of the City of Bijeljina	116

5.1.2	Buildings in the territory of the Municipality of Bogatić	120

5.2	Analysis of spatial, location and infrastructure conditions and architectural and construction possibilities for installation of solar systems	125

5.2.1	Gym of the high school "Filip Višnjić" Bijeljina	126

5.2.2	Elementary school "Knez Ivo od Semberije" Bijeljina	129

5.2.3	Elementary school "Dvorovi“ with the gym	132

5.2.4	Elementary school "Janko Veselinović" Crna Bara	134

5.2.5	Elementary school "Laza Lazarević" Salaš Crnobarski	136

5.2.6	Elementary school "Nikola Tesla" Dublje	138

5.3	Analysis of possible technical and technological solutions for using solar energy to produce electricity	141

5.3.1	Analysis of possible technical and technological solutions for using solar energy to produce electricity according to the option I	141

5.3.2	Connecting the PV system to the grid	142

5.3.3	Technical requirements for connecting the PV system to the grid	144

5.3.4	Influence of PV system to the distribution grid	145

5.3.5	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for the gym of the high school in Bijeljina	145

5.3.6	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for elementary school Knez Ivo od Semberije in Bijeljina	148

5.3.7	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for elementary school and gym Dvorovi in Bijeljina	151

5.3.8	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for elementary school "Janko Veselinović" Crna Bara	152

5.3.9	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for elementary school "Laza Lazarević" Salaš Crnobarski	153

5.3.10	Analysis of the possible technical and technological solutions for using solar energy to produce electricity for elementary school "Nikola Tesla" Dublje in Bogatić	153

5.4	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy	155

5.4.1	Flat plate solar collectors	155

5.4.2	Evacuated-tube solar collectors	156

5.4.3	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the gym of the high school in Bijeljina	159

5.4.4	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the elementary school "Knez Ivo od Semberije" in Bijeljina	164

5.4.5	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the elementary school and gym in Dvorovi	168

5.4.6	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the elementary school "Janko Veselinović" in Crna Bara	171

5.4.7	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the elementary school "Laza Lazarević" in Salaš Crnobarski	173

5.4.8	Analysis of the possible technical and technological solutions for using solar energy to produce thermal energy for the elementary school "Nikola Tesla" in Dublje	174

5.5	Calculation of the expected electricity production	177

5.5.1	Introduction and basic parameters	177

5.5.2	Photovoltaic Geographical Information System	179

5.5.3	Calculation of expected electricity production for the gym of the high school "Filip Višnjić"	182

5.5.4	Calculation of expected electricity production for the elementary school "Knez Ivo od Semberije"	184

5.5.5	Calculation of expected electricity production for the elementary school "Dvorovi" with the gym	186

5.5.6	Calculation of expected electricity production for the elementary school "Janko Veselinović" Crna Bara	187

5.5.7	Calculation of expected electricity production for the elementary school "Laza Lazarević" Salaš Crnobarski	188

5.5.8	Calculation of expected electricity production for the elementary school "Nikola Tesla" Dublje	189

5.6	Calculation of the expected thermal energy production	191

5.6.1	Determining the thermal characteristics of solar energy collectors	192

5.6.2	Calculation of expected thermal energy production for the gym of the high school	193

5.6.3	Calculation of expected thermal energy production for the elementary school "Knez Ivo od Semberije"	195

5.6.4	Calculation of expected thermal energy production for telementary school "Dvorovi"	196

5.6.5	Calculation of expected thermal energy production for the elementary school "Janko Veselinović" Crna Bara	197

5.6.6	Calculation of expected thermal energy production for the elementary school "Laza Lazarević" Salaš Crnobarski	198

5.6.7	Calculation of expected thermal energy production for the elementary school "Nikola Tesla" Dublje	199

5.6.8	Recapitulation of the way of selecting the technical and technological solution for the production of thermal energy	200

5.7	Consideration of the best technical and technological solution	202

5.8	Impact on the environment and calculation of reducing CO2 emission	203

5.8.1	Impact on the environment	203

5.8.2	Domestic and international standards and regulations related to the protection of air	206

5.8.3	Calculation of CO2 emission reduction	207

5.9	The basic economic parameters	212

5.10	Scenario of technical and technological solutions for using solar energy to produce electricity	215

5.10.1	Investment costs	215

5.10.2	Assessment of income earned on the sale of electricity according to the feed-in tariff	220

5.10.3	Comparison of annual production and gross income to the electricity consumption	228

5.10.4	Assessment of return on investment for the considered buildings	235

5.11	Scenario of technical and technological solutions for using solar energy to produce thermal energy	237

5.11.1	Investment costs	237

5.11.2	Assessment of savings generated by using thermal systems (TS) in relation to the current market situation	240

5.12	Concluding remarks of the financial analysis	241

6	POTENTIAL DOMESTIC AND FOREIGN SOURCES OF FINANCING	243

6.1	Budget funds	243

6.2	Transfers between budget units of different levels of government	243

6.3	Loan sources	243

6.4	Funds and financial lines for renewable energy and energy efficiency available in Bosnia and Herzegovina and in Serbia	245

6.5	Resources of the Environmental Protection and Energy Efficiency Fund of the Republic of Srpska	245

6.6	Resources of the Environmental Protection and Energy Efficiency Agency of the Republic of Serbia	246

6.7	Public-private partnership	246

6.8	IPA funds - Instrument for Pre-Accession Assistance	247

7	CONCLUSION	249

8	ANNEXES.....................................................................................................................................